## Electrical
ELECTRICAL METERS
Meter No. | Description | Switchboard | Tenant | Location | Panel Name | CAB | Meter Type | IP/Port | Address | Notes
Fire Fighting Lift | 35 Panelboard | SB-M01 | Landlord | LV ROOM WEST | Section 5 | CAB 7 | Janitza UMG 96 S | 192.168.77.2, SER1-G 0042 + 0041 | 33
Tenants Essential Busbar West Riser | Tenants Essential Busbar West Riser | SB-M01 | Landlord | LV ROOM WEST | Section 4 | CAB 2 | Janitza UMG 96 S | 192.168.77.2, SER1-G 0042 + 0041 | 30
MCCB4E |  | SB-M01 | Landlord | LV ROOM WEST | Section 5 | CAB 8 | Janitza UMG 96 S | 192.168.77.2, SER1-G 0042 + 0041 | 34
MCC-M-12-1 | 12th Floor Plantroom West MCC5 | SB-M01 | Landlord | LV ROOM WEST | Section 5 | CAB 11 | Janitza UMG 96 S | 192.168.77.2, SER1-G 0042 + 0041 | 37
ATS 10 | Automatic Transfer Switch | SB-M01 | Landlord | LV ROOM WEST | Section 5 | CAB 18 | Janitza UMG 96 S | 192.168.77.2, SER1-G 0042 + 0041 | 44
LB1-SB-M01-01 | Main Incomer TX-M-01 | SB-M01 | Landlord | LV ROOM WEST | Section 4 | CAB 3 | Janitza UMG 511 | 192.168.77.2, SER1-G 0042 + 0041 | 27
Landlords Rising Main West | Landlords Rising Main West | SB-M02 | Landlord | LV ROOM WEST | Section 8 | CAB 10 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 57
Lifts 36 & 37 | Panelboard (57) (Lift C & D) | SB-M02 | Landlord | LV ROOM WEST | Section 8 | CAB 12 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 59
DP-M-G1 |  | SB-M02 | Landlord | LV ROOM WEST | Section 8 | CAB 14 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 61
Lift A And B | Labelled Spare | SB-M02 | Landlord | LV ROOM WEST | Section 8 | CAB 17 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 64
DP-MB-02E |  | SB-M02 | Landlord | LV ROOM WEST | Section 8 | CAB 18 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 65
LB1-SB-M02-01 | Main Incomer TX-M-02 | SB-M02 | Landlord | LV ROOM WEST | Section 6 | CAB 2 | Janitza UMG 511 | 192.168.77.4, SER1-G 0046 + 0045 | 48
MCC 2 Heating System | Heating System | SB-M02 | Landlord | LV ROOM WEST | Section 8 | CAB 20 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 67
Tenants Non Essential Busbar | East Rise (51) | SB-M02 | Landlord | LV ROOM WEST | Section 7 | CAB 4 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 51
CH-M-01 | Chiller 1 | SB-M02 | Landlord | LV ROOM WEST | Section 7 | CAB 6 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 53
DB-LBC1 | Car Park | SB-L02 | Landlord | LV ROOM EAST | DP-L-B01 | n/a | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0026 | 2
DB-MGC6 |  | n/a | Landlord | Chiller Plant Room | DP-M-G1 | n/a | Janitza UMG 96 S | 192.168.77.xxx, SER1-G 0015 | 2
DB-LBC2 | East LV Switchroom | SB-L02 | Landlord | LV ROOM EAST | DP-L-B01 | n/a | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0026 | 3
DB-MGC5 |  | n/a | Landlord | Chiller Plant Room | DP-M-G1 | n/a | Janitza UMG 96 S | 192.168.77.xxx, SER1-G 0015 | 3
Fire Fighting Lift | 40 Panelboard | SB-M02 | Landlord | LV ROOM WEST | Section 8 | CAB 7 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 54
DP-M-B1 |  | SB-M02 | Landlord | LV ROOM WEST | Section 8 | CAB 8 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 55
Landlords Rising Main East |  | SB-M02 | Landlord | LV ROOM WEST | Section 8 | CAB 9 | Janitza UMG 96 S | 192.168.77.4, SER1-G 0046 + 0045 | 56
DB-LBC3 | East AHU Plantroom | SB-L02 | Landlord | LV ROOM EAST | DP-L-B01 | n/a | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0026 | 4
DB-MGC4 |  | n/a | Landlord | Chiller Plant Room | DP-M-G1 | n/a | Janitza UMG 96 S | 192.168.77.xxx, SER1-G 0015 | 4
Fire Alarm Panels | Main and Repeater | SB-M03 | Landlord | LV ROOM WEST | Section 1 | CAB 11 | Janitza UMG 96 S | 192.168.77.6, SER1-G 0038 + 0039 | 11
DB-LBC4 |  | SB-L02 | Landlord | LV ROOM EAST | DP-L-B01 | n/a | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0026 | 5
DB-MGC3 |  | n/a | Landlord | Chiller Plant Room | DP-M-G1 | n/a | Janitza UMG 96 S | 192.168.77.xxx, SER1-G 0015 | 5
MCC-L-R1 |  | SB-L01 | Landlord | LV ROOM EAST | Section 2 | CAB 6 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 5
MCC 2 ESS | Car Park Extract System | SB-M03 | Landlord | LV ROOM WEST | Section 1 | CAB 5 | Janitza UMG 96 S | 192.168.77.6, SER1-G 0038 + 0039 | 5
Tripping Coil and Battery Charger HV |  | SB-M03 | Landlord | LV ROOM WEST | Section 1 | CAB 6 | Janitza UMG 96 S | 192.168.77.6, SER1-G 0038 + 0039 | 6
DB-LBC5 | East AHU Plantroom | SB-L02 | Landlord | LV ROOM EAST | DP-L-B01 | n/a | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0026 | 6
DB-MGC2 |  | n/a | Landlord | Chiller Plant Room | DP-M-G1 | n/a | Janitza UMG 96 S | 192.168.77.xxx, SER1-G 0015 | 6
MCC 1 ESS | MCC-L-B3E | SB-L01 | Landlord | LV ROOM EAST | Section 2 | CAB 7 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 6
DB-LGC1 (DB\LGC2) | Ground Floor East Lobby Electrical Riser | SB-L02 | Landlord | LV ROOM EAST | DP-L-B01 | n/a | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0026 | 7
Spare (7) (DB\MGC1) | Spare | n/a | Landlord | LV ROOM WEST | DP-M-G1 | n/a | Janitza UMG 96 S | 192.168.77.xxx, SER1-G 0015 | 7
DB-MGC7 | Control Room | n/a | Landlord | Chiller Plant Room | DP-M-G1 | n/a | Janitza UMG 96 S | 192.168.77.xxx, SER1-G 0015 | 8
DB-LG3 | Control Room/MER Room | SB-L02 | Landlord | LV ROOM EAST | DP-L-B01 | n/a | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0026 | 9
DB/MPABX |  | n/a | Landlord | Chiller Plant Room | DP-M-G1 | n/a | Janitza UMG 96 S | 192.168.77.xxx, SER1-G 0015 | 9
Landlords Rising Main West | Landlords Rising Main West | SB-L01 | Landlord | LV ROOM EAST | Section 2 | CAB 13 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 12
Block L Tripping Coil and Battery Charger LV | Block L | SB-L01 | Landlord | LV ROOM EAST | Section 2 | CAB 14 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 13
TX-L-01 | Main Incomer | SB-L01 | Landlord | LV ROOM EAST | Section 3 | CAB 15 | JANITZA UMG 511 | 192.168.77.xxx, MER-B 0028 | 15
TX-L-02 | Main Incomer | SB-L02 | Landlord | LV ROOM EAST | Section 4 | CAB 2 | JANITZA UMG 511 | 192.168.77.xxx, MER-B 0028 | 19
LB1-SB-L02-04 | AHU L01 Supply MCC1 | SB-L02 | Landlord | LV ROOM EAST | Section 6 | CAB 7 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 24
MCC 1 |  | SB L02 | Landlord | LV ROOM EAST | Section 6 | CAB 7 | JANITZA UMG 96 S | 192.168.77.xxx, MER-B 0028 | 24
Tenants Non Essential Rising Busbar East | Tenants Non Essential Rising Busbar East | SB-L02 | Landlord | LV ROOM EAST | Section 6 | CAB 8 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 25
Tripping Coil and Battery Charger LV |  | SB-M03 | Landlord | LV ROOM WEST | Section 1 | CAB 7 | Janitza UMG 96 S | 192.168.77.6, SER1-G 0038 + 0039 | 7
DB-L-B01 |  | SB-L02 | Landlord | LV ROOM EAST | Section 6 | CAB 10 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 27
Landlords Rising Main East | Landlords Rising Main East | SB-L02 | Landlord | LV ROOM EAST | Section 7 | CAB 12 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 29
DP-LGP1 |  | SB-L02 | Landlord | LV ROOM EAST | Section 7 | CAB 13 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 30
LB1-SB-L02-10 | AHU L02 Supply MCC1A | SB-L02 | Landlord | LV ROOM EAST | Section 7 | CAB 14 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 31
Lift E & F | Lifts 30 and 31 Panelboard | SB-L02 | Landlord | LV ROOM EAST | Section 7 | CAB 15 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 32
MCC LR2E (MCC 7) | MCC LR2E | SB-L02 | Landlord | LV ROOM EAST | Section 7 | CAB 16 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 33
Fire Fighting Lift 34 |  | SB-L02 | Landlord | LV ROOM EAST | Section 7 | CAB 17 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 34
Lift G | Lift 32 Panelboard | SB-L02 | Landlord | LV ROOM EAST | Section 7 | CAB 18 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 35
DP-LG-P2 |  | SB-L02 | Landlord | LV ROOM EAST | Section 7 | CAB 19 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 36
MCC-L-3E ATS | Automatic Transfer Switch | SB-L02 | Landlord | LV ROOM EAST | Section 7 | CAB 20 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 37
AHU M1 Extract |  | SB-M03 | Landlord | LV ROOM WEST | Section 1 | CAB 21 | Janitza UMG 96 S | 192.168.77.6, SER1-G 0038 + 0039 | 12
Sprinkler Pump Set |  | SB-M03 | Landlord | LV ROOM WEST | Section 1 | CAB 22 | Janitza UMG 96 S | 192.168.77.6, SER1-G 0038 + 0039 | 13
Chiller Pumps MCC3 (CH-MCC-M-G1) |  | SB-M03 | Landlord | LV ROOM WEST | Section 1 | CAB 23 | Janitza UMG 96 S | 192.168.77.6, SER1-G 0038 + 0039 | 16
CH-M-02 | Chiller 2 | SB-M03 | Landlord | LV ROOM WEST | Section 2 | CAB 24 | Janitza UMG 96 S | 192.168.77.6, SER1-G 0038 + 0039 | 18
ES-L-C1 Escalators |  | SB-L01 | Landlord | LV ROOM EAST | Section 2 | CAB 25 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 7
ES-L-C2 Escalators |  | SB-L01 | Landlord | LV ROOM EAST | Section 2 | CAB 26 | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 | 8
MG116K00400 | Main Coming Electricity - Ground Floor | n/a | Landlord | HV Room | n/a | CAB 27 | Elster A1700 | n/a | n/a
MG16K00412 | Main Coming Electricity - Ground Floor | n/a | Landlord | HV Room | n/a | CAB 28 | Elster A1700 | n/a | n/a
MG16K00414 | Main - Ground Floor | n/a | Landlord | HV Room | n/a | n/a | Elster A1700 | n/a | n/a
MG16K00424 | Main - Ground Floor | n/a | Landlord | HV Room | n/a | n/a | Elster A1700 | n/a | n/a
MCC-L-B2 |  | SB-L01 | Landlord | LV ROOM EAST | Section 2 | Cubical Off | Janitza UMG 96 S | 192.168.77.xxx, MER-B 0028 |  | 8
Main Incomer | TX-M-03 | SB-M03 | Landlord | LV ROOM WEST | Section 3 | CAB 22 | Janitza UMG 511 | 192.168.77.6, SER1-G 0038 + 0039 |  | need address
AHU M1 Supply Fan | Supply Fan | n/a | Landlord | Roof Plant | n/a | n/a | Carlo Gavazzi EM21 | 192.186.77.xxx, SER3-12 0034 | 1
AHU M2 Extract | Extract Fan | SB-M02 | Landlord | LV ROOM WEST | Section 8 | CAB19 |  | Pulse | Pulse | Engineered no meter type
AHU M2 Supply Fan | Supply Fan | n/a | Landlord | Roof Plant | n/a | n/a | Carlo Gavazzi EM21 | 192.186.77.xxx, SER3-12 0034 | 2
DB-MBC1 | TBD | n/a | Landlord | Car Park | DB-MB-1 | n/a | Janitza UMG 96S | 192.168.77.xxx, SER1-B 0005 | 3
DB-MBC2 | TBD | n/a | Landlord | Car Park | DB-MB-1 | n/a | Janitza UMG 96S | 192.168.77.xxx, SER1-B 0005 | 4
DB-MBC3 | TBD | n/a | Landlord | Car Park | DB-MB-1 | n/a | Janitza UMG 96S | 192.168.77.xxx, SER1-B 0005 | 5
DB-MBC4 | TBD | n/a | Landlord | Car Park | DB-MB-1 | n/a | Janitza UMG 96S | 192.168.77.xxx, SER1-B 0005 | 6
DB-MBC5 | TBD | n/a | Landlord | Car Park | DB-MB-1 | n/a | Janitza UMG 96S | 192.168.77.xxx, SER1-B 0005 | 7
DB-Mercury | TBD | n/a | Landlord | Car Park | DB-MB-1 | n/a | Janitza UMG 96S | 192.168.77.xxx, SER1-B 0005 | 2
LB1-DP-MB1-P10 | TBD | n/a | Landlord | TBD | TBD | TBD | TBD | TBD
LB1-DP-MG1-08 | TBD | n/a | Landlord | TBD | TBD | TBD | TBD | TBD
LB1-SB-L01-03 | TBD | n/a | Landlord | TBD | TBD | TBD | TBD | TBD
Tenants Essential Rising Busbar East | Tenants Essential Rising Busbar East | SB-L02 | Landlord | LV ROOM EAST | Section 1 | CAB 4 | Pulse | n/a
Tenants Non Essential Busbar West Riser | Tenants Non Essential Busbar West Riser | SB-L01 | Landlord | LV ROOM EAST | Section 1 | CAB 1 | Pulse | n/a
| Tenants Non-Essential Busbar West Riser | SB-M01 | Landlord | LV ROOM WEST | Section 1 | CAB 1 | Pulse | n/a
East Floor Ground | POWER | n/a | HCA International Limited | East Core 1 | n/a | n/a | ECS3-5M | 192.168.77.22, MER-1 0010 | 41
East Floor Ground | LIGHITNG | n/a | HCA International Limited | East Core 1 | n/a | n/a | ECS3-5M | 192.168.77.22, MER-1 0010 | 26
East Floor 1 | POWER | n/a | HCA International Limited | East Core 1 | DB-L1L1&L1P1 | n/a | ECS3-5M | 192.168.77.22, MER-1 0010 | 84
East Floor 1 | LIGHITNG | n/a | HCA International Limited | East Core 1 | DB-L1L1&L1P1 | n/a | Carlo Gavazzi EM21 | 192.168.77.22, MER-1 0010 | ? | 7
East Floor 1 | POWER | n/a | HCA International Limited | East Core 2 | DB-L1L2&L1P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 83
East Floor 1 | LIGHTING | n/a | HCA International Limited | East Core 2 | DB-L1L2&L1P2 | n/a | Carlo Gavazzi EM21 | 172.16.20.123, MER-1 0027 | 1
East Floor 2 - Vacant | POWER | n/a | n/a | East Core 1 | DB-L2L1&L2P1 | n/a | ECS3-5M | 192.168.77.22, MER-1 0010 | 86
East Floor 2 - Vacant | LIGHTING | n/a | n/a | East Core 1 | DB-L2L1&L2P1 | n/a | ECS3-5M | 192.168.77.22, MER-1 0010 | 49
East Floor 2 - Vacant | POWER | n/a | n/a | East Core 2 | DB-L2L2&L2P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 50
East Floor 2 - Vacant | LIGHTING | n/a | n/a | East Core 2 | DB-L2L2&L2P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 77
East Floor 3 | POWER | n/a | Grainger Residential Management Limited | East Core 1 | DB-L3L1&L3P1 | n/a | Carlo Gavazzi EM21 | 192.168.77.22, MER-1 0010 | 6
East Floor 3 | LIGHITNG | n/a | Grainger Residential Management Limited | East Core 1 | DB-L3L1&L3P1 | n/a | ECS3-5M | 192.168.77.22, MER-1 0010 | 63
East Floor 3 | POWER | n/a | Grainger Residential Management Limited | East Core 2 | DB-L3L2&L3P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 72
East Floor 3 | LIGHITNG | n/a | Grainger Residential Management Limited | East Core 2 | DB-L3L2&L3P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 73
East Floor 3 | Metering Panel 1 | n/a | n/a | East Core 2 | DB Comms | n/a | Carlo Gavazzi EM21 | 172.16.20.123, MER-1 0027 | 20
East Floor 4 | POWER | n/a | Wex Europe Ltd | East Core 1 | DB-L4L1&L4P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 4 | LIGHTING | n/a | Wex Europe Ltd | East Core 1 | DB-L4L1&L4P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 4 | POWER | n/a | Wex Europe Ltd | East Core 2 | DB-L4L2&L4P2 | n/a | Carlo Gavazzi EM21 | 172.16.20.123, MER-1 0027 | 8
East Floor 4 | LIGHITNG | n/a | Wex Europe Ltd | East Core 2 | DB-L4L2&L4P2 | n/a | Carlo Gavazzi EM21 | 172.16.20.123, MER-1 0027 | 7
East Floor 5 | POWER | n/a | Finnegan Europe LLP | East Core 1 | DB-L5L1&L5P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 5 | LIGHTING | n/a | Finnegan Europe LLP | East Core 1 | DB-L5L1&L5P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 5 | POWER | n/a | Finnegan Europe LLP | East Core 2 | DB-L5L2&L5P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 58
East Floor 5 | LIGHTING | n/a | Finnegan Europe LLP | East Core 2 | DB-L5L2&L5P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 70
East Floor 6 | POWER | n/a | Keltie LLP | East Core 1 | DB-L6L1&L6P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 6 | LIGHTING | n/a | Keltie LLP | East Core 1 | DB-L6L1&L6P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 6 | POWER | n/a | Keltie LLP | East Core 2 | DB-L6L2&L6P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 54
East Floor 6 | LIGHITNG | n/a | Keltie LLP | East Core 2 | DB-L6L2&L6P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 88
East Floor 7 | POWER | n/a | Scholastic Limited | East Core 1 | DB-L7L1&L7P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 7 | LIGHTING | n/a | Scholastic Limited | East Core 1 | DB-L7L1&L7P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 7 | POWER | n/a | Scholastic Limited | East Core 2 | DB-L7L2&L7P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 69
East Floor 7 | LIGHITNG | n/a | Scholastic Limited | East Core 2 | DB-L7L2&L7P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 74
East Floor 8 | POWER | n/a | PGIM Financial Limited | East Core 1 | DB-L8L1&L8P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 8 | LIGHITNG | n/a | PGIM Financial Limited | East Core 1 | DB-L8L1&L8P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 8 | POWER | n/a | PGIM Financial Limited | East Core 2 | DB-L8L2&L8P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 81
East Floor 8 | LIGHTING | n/a | PGIM Financial Limited | East Core 2 | DB-L8L2&L8P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 62
East Floor 9 | POWER | n/a | DOTDIGITAL Group Plc | East Core 1 | DB-L9L1&L9P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 9 | LIGHTING | n/a | DOTDIGITAL Group Plc | East Core 1 | DB-L9L1&L9P1 | n/a |  | 192.168.77.22, MER-1 0010 |  | 12
East Floor 9 | POWER | n/a | DOTDIGITAL Group Plc | East Core 2 | DB-L9L2&L9P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 55
East Floor 9 | LIGHTING | n/a | DOTDIGITAL Group Plc | East Core 2 | DB-L9L2&L9P2 | n/a | ECS3-5M | 172.16.20.123, MER-1 0027 | 89 | 6
West Floor 2 | POWER | n/a | eMerchantPay UK Services Limited | West Core 1 | DB-M2L1&M2P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 4 | 4
West Floor 2 | LIGHTING | n/a | eMerchantPay UK Services Limited | West Core 1 | DB-M2L1&M2P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 3 | 5
West Floor 2 | Power | n/a | eMerchantPay UK Services Limited | West Core 2 | DB-M2L2&M2P2 | n/a | ECS3-5M | 192.168.77.25, SER1-2 0011 | 4
West Floor 2 | Lighting | n/a | eMerchantPay UK Services Limited | West Core 2 | DB-M2L2&M2P2 | n/a | ECS3-5M | 192.168.77.25, SER1-2 0011 | 3
West Floor 3 | POWER | n/a | Institutional Shareholder Services UK Limited | West Core 1 | DB-M3L1&M3P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 35
West Floor 3 | LIGHTING | n/a | Institutional Shareholder Services UK Limited | West Core 1 | DB-M3L1&M3P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 34
West Floor 3 | Power | n/a | NSC Global Limited | West Core 2 | DB-M3L2&M3P2 | n/a | Carlo Gavazzi EM21 | 192.168.77.25, SER1-2 0011 | 5
West Floor 3 | Lighting | n/a | NSC Global Limited | West Core 2 | DB-M3L2&M3P2 | n/a | Carlo Gavazzi EM22 | 192.168.77.25, SER1-2 0011 | 6
West Floor 4 | POWER | n/a | Institutional Shareholder Services UK Limited | West Core 1 | DB-M4L1&M4P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 55
West Floor 4 | LIGHTING | n/a | Institutional Shareholder Services UK Limited | West Core 1 | DB-M4L1&M4P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 26
West Floor 4 | POWER | n/a | Institutional Shareholder Services UK Limited | West Core 2 | DB-M4L2&M4P2 | n/a | Ecs3-5m | 192.168.77.25, SER1-2 0011 | 35
West Floor 4 | LIGHTING | n/a | Institutional Shareholder Services UK Limited | West Core 2 | DB-M4L2&M4P2 | n/a | Ecs3-5m | 192.168.77.25, SER1-2 0011 | 20
West Floor 4 | ATS Tap off | n/a | n/a | West Core 2 | n/a | n/a | Carlo Gavazzi em21 | 192.168.77.25, SER1-2 0011 | 25
West Floor 5 | POWER | n/a | Institutional Shareholder Services UK Limited | West Core 1 | DB-M5L1&M5P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 63
West Floor 5 | LIGHTING | n/a | Institutional Shareholder Services UK Limited | West Core 1 | DB-M5L1&M5P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 58
West Floor 5 | POWER | n/a | Institutional Shareholder Services UK Limited | West Core 2 | DB-M5L2&M5P2 | n/a | ECS3-5M | 192.168.77.25, SER1-2 0011 | 28
West Floor 5 | LIGHTING | n/a | Institutional Shareholder Services UK Limited | West Core 2 | DB-M5L2&M5P2 | n/a | ECS3-5M | 192.168.77.25, SER1-2 0011 | 49
West Floor 6 | POWER | n/a | Howard Kennedy LLP | West Core 1 | DB-M6L1&M6P1 | n/a | ECS-5M | 192.168.77.24, SER1-1 0025 | 47
West Floor 6 | LIGHTING | n/a | Howard Kennedy LLP | West Core 1 | DB-M6L1&M6P1 | n/a | ECS-5M | 192.168.77.24, SER1-1 0025 | 25 | 3
West Floor 6 | Comms Room | n/a | n/a | West Core 1 | DB/M6/P1/CR | n/a | Carlo Gavazzi | 192.168.77.24, SER1-1 0025 | 25 | 3
West Floor 6 | POWER | n/a | Howard Kennedy LLP | West Core 2 | DB-M6L2&M6P2 | n/a | ECS-5M | 192.168.77.25, SER1-2 0011 | 34
West Floor 6 | LIGHTING N/A | n/a | Howard Kennedy LLP | West Core 2 | DB-M6L2&M6P2 | n/a | Carlo Gavazzi EM-21 | 192.168.77.25, SER1-2 0011 | 11
West Floor 7 | POWER N/A | n/a | Howard Kennedy LLP | West Core 1 | DB-M7L1&M7P1 | n/a | Carlo Gavazzi EM 21 | 192.168.77.24, SER1-1 0025 | 14
West Floor 7 | LIGHTING N/A | n/a | Howard Kennedy LLP | West Core 1 | DB-M7L1&M7P1 | n/a | Carlo Gavazzi EM530 | 192.168.77.24, SER1-1 0025 | 13
West Floor 7 | POWER | n/a | Howard Kennedy LLP | West Core 2 | DB-M7L2&M7P2 | n/a | ECS-5M | 192.168.77.25, SER1-2 0011 | 56
West Floor 7 | LIGHTING N/A | n/a | Howard Kennedy LLP | West Core 2 | DB-M7L2&M7P2 | n/a | Carlo Gavazzi EM21 | 192.168.77.25, SER1-2 0011 | 13
West Floor 8 | POWER | n/a | Howard Kennedy LLP | West Core 1 | DB-M8L1&M8P1 | n/a | ECS-5M | 192.168.77.24, SER1-1 0025 | 46
West Floor 8 | LIGHTING | n/a | Howard Kennedy LLP | West Core 1 | DB-M8L1&M8P1 | n/a | ECS-5M | 192.168.77.24, SER1-1 0025 | 12
West Floor 8 | POWER | n/a | Howard Kennedy LLP | West Core 2 | DB-M8L2&M8P2 | n/a | ECS-5M | 192.168.77.25, SER1-2 0011 | 48
West Floor 8 | LIGHTING | n/a | Howard Kennedy LLP | West Core 2 | DB-M8L2&M8P2 | n/a | ECS-5M | 192.168.77.25, SER1-2 0011 | 27
West Floor 9 | POWER | n/a | Howard Kennedy LLP | West Core 1 | DB-M9L1&M9P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 52
West Floor 9 | LIGHTING | n/a | Howard Kennedy LLP | West Core 1 | DB-M9L1&M9P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 31
West Floor 9 | POWER | n/a | Howard Kennedy LLP | West Core 2 | DB-M9L2&M9P2 | n/a | ECS3-5M | 192.168.77.25, SER1-2 0011 | 32
West Floor 9 | LIGHTING | n/a | Howard Kennedy LLP | West Core 2 | DB-M9L2&M9P2 | n/a | ECS3-5M | 192.168.77.25, SER1-2 0011 | 15
West Floor 10 | POWER | n/a | Howard Kennedy LLP | West Core 1 | DB-M10L1&M10P1 | n/a | ECS-5M | 192.168.77.24, SER1-1 0025 | 62
West Floor 10 | LIGHTING | n/a | Howard Kennedy LLP | West Core 1 | DB-M10L1&M10P1 | n/a | ECS-5M | 192.168.77.24, SER1-1 0025 | 54
West Floor 10 | POWER | n/a | Howard Kennedy LLP | West Core 2 | DB-M10L2&M10P2 | n/a | ECS-5M | 192.168.77.25, SER1-2 0011 | 42
West Floor 10 | LIGHTING | n/a | Howard Kennedy LLP | West Core 2 | DB-M10L2&M10P2 | n/a | Carlo Gavazzi EM21 | 192.168.77.25, SER1-2 0011 | 19
West Floor 11 | POWER | n/a | Howard Kennedy LLP | West Core 1 | DB-M11L1&M11P1 | n/a | EM530 Carlo Gavazzi | 192.168.77.24, SER1-1 0025 | 22
West Floor 11 | LIGHTING - KITCHEN | n/a | Howard Kennedy LLP | West Core 1 | DB-M11L1&M11P1 | n/a | ECS-5M | 192.168.77.24, SER1-1 0025 | 79
West Floor 11 | POWER - KITCHEN | n/a | Howard Kennedy LLP | West Core 2 | DB-M11L2&M11P2 | n/a | ECS-5M | 192.168.77.25, SER1-2 0011 | 50
West Floor 11 | LIGHTING - KITCHEN | n/a | Howard Kennedy LLP | West Core 2 | DB-M11L2&M11P2 | n/a | ECS-5M | 192.168.77.25, SER1-2 0011 | 17
West Floor 11 | DB Kitchen | n/a | Kennedy LLP | West Core 2 | DB/KIT | n/a | Carlo Gavazzi em21 | 192.168.77.25, SER1-2 0011 | 26 | 2
West Floor 12 | POWER | n/a | GMO U.K. Limited | West Core 1 | DB-M12L1&M12P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 66
West Floor 12 | LIGHTING | n/a | GMO U.K. Limited | West Core 1 | DB-M12L1&M12P1 | n/a | ECS3-5M | 192.168.77.24, SER1-1 0025 | 65
West Floor 12 | POWER | n/a | GMO U.K. Limited | West Core 2 | DB-M12L2&M12P2 | n/a | ECS3-5M | 192.168.77.25, SER1-2 0011 | 39
West Floor 12 | LIGHTING N/A | n/a | GMO U.K. Limited | West Core 2 | DB-M12L2&M12P2 | n/a | Carlo Gavazzi EM21 | 192.168.77.25, SER1-2 0011 | 23

## Heat Meters
HEAT METERS
Meter No. | Serving | Location | Serial No. | Meter Type | Network | Address | Size | Notes
HM -CHW-01 | Chiller No.1 | Chiller Room | 7280365 | Kamstrup 601 | TBD | TBD | n/a | 10
HM -CHW-02 | Chiller No.2 | Chiller Room | 7280366 | Kamstrup 601 | TBD | TBD | n/a | 10
HM -CHW-03 | Block L AHU CHW | Chiller Room | 69077674 | Kamstrup 601 | TBD | TBD | n/a | 10
HM-LTHW-04 | Boiler No.1 | Boiler Room | 69108663 | Kamstrup 601 | TBD | TBD | n/a | 10
HM-LTHW-05 | Boiler No.2 | Boiler Room | 69085008 | Kamstrup 601 | TBD | TBD | n/a | 10
HM-LTHW-06 | Block M Secondary FCUs | Boiler Room | no access | Kamstrup 601 | TBD | TBD | n/a | 10

## Gas
GAS METERS
Meter No. | Serving | Purpose | Location | Serial No. | Meter Type | Communications | Network | Address | Scaling | Notes
Main MRD0450A1D | Boilers | Main Gas | Gas meter room | m0450d568024b7 | MRD0450B4D | Pulse | n/a | n/a | 1m3/pulse | 9

## Water
WATER METERS
Meter No. | Serving | Purpose | Location | Serial No. | Meter Type | Communications | Network | Address | Scaling | Notes
Main Meter Boiler House | Cold Water | West and East CWS | West Boiler Room | 08Q1008594 | n/a | Pulse | TBD | TBD | TBD | 11
Bypass Meter Boiler House | Cold Water | West and East CWS | West Boiler Room | 08AC353780 | n/a | Pulse | TBD | TBD | TBD