## SiteInfo
Name | Address Line 1 | Address Line 2 | City | State | Postcode | Country | Name | Phone Number | Email Address | Site Information
Verde | 10 Bressenden Place |  | London |  | SW1E 5DH | England | KnighContorls | ​01245 808 218 | service@knightcontrols.co.uk

## Floor meters
Floor | Mech | Lighting/Small Power | West LTG/FCU | West SP | West Extra1 | West Extra2 | West Extra3 | West Extra4 | East LTG/FCU | East SP | East Extra 1 | East Extra 2 | East Extra 3
Floor 1
Floor 2
Floor 3
Floor 4
Floor 5
Floor 6
Floor 7
Floor 8
Floor 9
Not found on single line drawings
Confirmed on single line drawings
Not found on provided meter list

## ModbusDevices
connection | address | name | description | port | timeout | retries | delay | keepalive | port | timeout | retries | delay | keepalive

## Meters
name | description | serialNumber | location | utility | parent | notes | driver | b_device | m_ipdevice | m_unit | metertype | usernames | groupnames | unit | calculation_meters | portion | Building | Calc meters list
4ML-Floor Lower Ground Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 4ML-LG DB-Lighting,4ML-LG DB-Power,4ML-LG DB-Mech Power |  |  | 4ML-LG DB-Lighting | 4ML-LG DB-Power | 4ML-LG DB-Mech Power
4ML-Floor Ground Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 4ML-Grd DB-Power,4ML-Grd DB-Lighting,4ML-Grd DB-Mech Power |  |  | 4ML-Grd DB-Power | 4ML-Grd DB-Lighting | 4ML-Grd DB-Mech Power
4ML-Floor 02 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 4ML-2nd DB-North,4ML-2nd DB-South |  |  | 4ML-2nd DB-North | 4ML-2nd DB-South
4ML-Floor 03 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 4ML-3rd DB-3-TLP,4ML-3rd DB-3-TLP Sec Load,4ML-3rd DB-3-TM,4ML-3rd DB-3-Kitchen,4ML-3rd DB-3-Comms |  |  | 4ML-3rd DB-3-TLP | 4ML-3rd DB-3-TLP Sec Load | 4ML-3rd DB-3-TM | 4ML-3rd DB-3-Kitchen | 4ML-3rd DB-3-Comms
4ML-Floor 04 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 4ML-4th DB-Power,4ML-4th DB-Lighting,4ML-4th DB-Mech Power,4ML-4th DB-Changeover 1,4ML-4th DB-Changeover 2 |  |  | 4ML-4th DB-Power | 4ML-4th DB-Lighting | 4ML-4th DB-Mech Power | 4ML-4th DB-Changeover 1 | 4ML-4th DB-Changeover 2
4ML-Floor 05 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 4ML-5th DB-North Cornerstone,4ML-5th DB-South WBD |  |  | 4ML-5th DB-North Cornerstone | 4ML-5th DB-South WBD
4ML-Floor 06 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 4ML-6th DB-Power,4ML-6th DB-Lighting,4ML-6th DB-Mech Power |  |  | 4ML-6th DB-Power | 4ML-6th DB-Lighting | 4ML-6th DB-Mech Power
4ML-Floor 07 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 4ML-7th DB-Power,4ML-7th DB-Lighting,4ML-7th DB-Mech Power |  |  | 4ML-7th DB-Power | 4ML-7th DB-Lighting | 4ML-7th DB-Mech Power
4ML-Floor 08 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 4ML-8th DB-Mech Power,4ML-8th DB-Lighting,4ML-8th DB-Power |  |  | 4ML-8th DB-Mech Power | 4ML-8th DB-Lighting | 4ML-8th DB-Power
4ML-Floor 09 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 4ML-9th DB-Power,4ML-9th DB-Lighting,4ML-9th DB-Mech Power |  |  | 4ML-9th DB-Power | 4ML-9th DB-Lighting | 4ML-9th DB-Mech Power

## CustomMeterPoints
meter | parameter | period | frequency | description | instance
4ML-9th DB-Power | Active Energy | This | month | 4ML-9th DB-Power-This-month | 2000080
4ML-9th DB-Lighting | Active Energy | This | month | 4ML-9th DB-Lighting-This-month | 2000081
4ML-9th DB-Mech Power | Active Energy | This | month | 4ML-9th DB-Mech Power-This-month | 2000082
4ML-8th DB-Mech Power | Active Energy | This | month | 4ML-8th DB-Mech Power-This-month | 2000083
4ML-8th DB-Lighting | Active Energy | This | month | 4ML-8th DB-Lighting-This-month | 2000084
4ML-8th DB-Power | Active Energy | This | month | 4ML-8th DB-Power-This-month | 2000085
4ML-7th DB-Power | Active Energy | This | month | 4ML-7th DB-Power-This-month | 2000086
4ML-7th DB-Lighting | Active Energy | This | month | 4ML-7th DB-Lighting-This-month | 2000087
4ML-7th DB-Mech Power | Active Energy | This | month | 4ML-7th DB-Mech Power-This-month | 2000088
4ML-6th DB-Power | Active Energy | This | month | 4ML-6th DB-Power-This-month | 2000089
4ML-6th DB-Lighting | Active Energy | This | month | 4ML-6th DB-Lighting-This-month | 2000090
4ML-6th DB-Mech Power | Active Energy | This | month | 4ML-6th DB-Mech Power-This-month | 2000091
4ML-5th DB-North Cornerstone | Active Energy | This | month | 4ML-5th DB-North Cornerstone-This-month | 2000092
4ML-5th DB-South WBD | Active Energy | This | month | 4ML-5th DB-South WBD-This-month | 2000093
4ML-4th DB-Power | Active Energy | This | month | 4ML-4th DB-Power-This-month | 2000094
4ML-4th DB-Lighting | Active Energy | This | month | 4ML-4th DB-Lighting-This-month | 2000095
4ML-4th DB-Mech Power | Active Energy | This | month | 4ML-4th DB-Mech Power-This-month | 2000096
4ML-4th DB-Changeover 1 | Active Energy | This | month | 4ML-4th DB-Changeover 1-This-month | 2000097
4ML-4th DB-Changeover 2 | Active Energy | This | month | 4ML-4th DB-Changeover 2-This-month | 2000098
4ML-3rd DB-3-TLP | Active Energy | This | month | 4ML-3rd DB-3-TLP-This-month | 2000099
4ML-3rd DB-3-TLP Sec Load | Active Energy | This | month | 4ML-3rd DB-3-TLP Sec Load-This-month | 2000100
4ML-3rd DB-3-TM | Active Energy | This | month | 4ML-3rd DB-3-TM-This-month | 2000101
4ML-3rd DB-3-Kitchen | Active Energy | This | month | 4ML-3rd DB-3-Kitchen-This-month | 2000102
4ML-3rd DB-3-Comms | Active Energy | This | month | 4ML-3rd DB-3-Comms-This-month | 2000103
4ML-2nd DB-North | Active Energy | This | month | 4ML-2nd DB-North-This-month | 2000104
4ML-2nd DB-South | Active Energy | This | month | 4ML-2nd DB-South-This-month | 2000105
4ML-Grd DB-Power | Active Energy | This | month | 4ML-Grd DB-Power-This-month | 2000106
4ML-Grd DB-Lighting | Active Energy | This | month | 4ML-Grd DB-Lighting-This-month | 2000107
4ML-Grd DB-Mech Power | Active Energy | This | month | 4ML-Grd DB-Mech Power-This-month | 2000108
4ML-1st DB-Total | Active Energy | This | month | 4ML-1st DB-Total-This-month | 2000109
4ML-LG DB-Power | Active Energy | This | month | 4ML-LG DB-Power-This-month | 2000110
4ML-LG DB-Lighting | Active Energy | This | month | 4ML-LG DB-Lighting-This-month | 2000111
4ML-LG DB-Mech Power | Active Energy | This | month | 4ML-LG DB-Mech Power-This-month | 2000112
4ML-Floor Lower Ground Total Electricity | Active Energy | This | month | 4ML-Floor Lower Ground Total Electricity-This-month | 2000113
4ML-Floor Ground Total Electricity | Active Energy | This | month | 4ML-Floor Ground Total Electricity-This-month | 2000114
4ML-Floor 01 Total Electricity | Active Energy | This | month | 4ML-Floor 01 Total Electricity-This-month | 2000115
4ML-Floor 02 Total Electricity | Active Energy | This | month | 4ML-Floor 02 Total Electricity-This-month | 2000116
4ML-Floor 03 Total Electricity | Active Energy | This | month | 4ML-Floor 03 Total Electricity-This-month | 2000117
4ML-Floor 04 Total Electricity | Active Energy | This | month | 4ML-Floor 04 Total Electricity-This-month | 2000118
4ML-Floor 05 Total Electricity | Active Energy | This | month | 4ML-Floor 05 Total Electricity-This-month | 2000119
4ML-Floor 06 Total Electricity | Active Energy | This | month | 4ML-Floor 06 Total Electricity-This-month | 2000120
4ML-Floor 07 Total Electricity | Active Energy | This | month | 4ML-Floor 07 Total Electricity-This-month | 2000121
4ML-Floor 08 Total Electricity | Active Energy | This | month | 4ML-Floor 08 Total Electricity-This-month | 2000122
4ML-Floor 09 Total Electricity | Active Energy | This | month | 4ML-Floor 09 Total Electricity-This-month | 2000123
4ML-9th DB-Power | Active Energy | Previous To Today Equivalent | month | 4ML-9th DB-Power-Previous To Today Equivalent-month | 2000124
4ML-9th DB-Lighting | Active Energy | Previous To Today Equivalent | month | 4ML-9th DB-Lighting-Previous To Today Equivalent-month | 2000125
4ML-9th DB-Mech Power | Active Energy | Previous To Today Equivalent | month | 4ML-9th DB-Mech Power-Previous To Today Equivalent-month | 2000126
4ML-8th DB-Mech Power | Active Energy | Previous To Today Equivalent | month | 4ML-8th DB-Mech Power-Previous To Today Equivalent-month | 2000127
4ML-8th DB-Lighting | Active Energy | Previous To Today Equivalent | month | 4ML-8th DB-Lighting-Previous To Today Equivalent-month | 2000128
4ML-8th DB-Power | Active Energy | Previous To Today Equivalent | month | 4ML-8th DB-Power-Previous To Today Equivalent-month | 2000129
4ML-7th DB-Power | Active Energy | Previous To Today Equivalent | month | 4ML-7th DB-Power-Previous To Today Equivalent-month | 2000130
4ML-7th DB-Lighting | Active Energy | Previous To Today Equivalent | month | 4ML-7th DB-Lighting-Previous To Today Equivalent-month | 2000131
4ML-7th DB-Mech Power | Active Energy | Previous To Today Equivalent | month | 4ML-7th DB-Mech Power-Previous To Today Equivalent-month | 2000132
4ML-6th DB-Power | Active Energy | Previous To Today Equivalent | month | 4ML-6th DB-Power-Previous To Today Equivalent-month | 2000133
4ML-6th DB-Lighting | Active Energy | Previous To Today Equivalent | month | 4ML-6th DB-Lighting-Previous To Today Equivalent-month | 2000134
4ML-6th DB-Mech Power | Active Energy | Previous To Today Equivalent | month | 4ML-6th DB-Mech Power-Previous To Today Equivalent-month | 2000135
4ML-5th DB-North Cornerstone | Active Energy | Previous To Today Equivalent | month | 4ML-5th DB-North Cornerstone-Previous To Today Equivalent-month | 2000136
4ML-5th DB-South WBD | Active Energy | Previous To Today Equivalent | month | 4ML-5th DB-South WBD-Previous To Today Equivalent-month | 2000137
4ML-4th DB-Power | Active Energy | Previous To Today Equivalent | month | 4ML-4th DB-Power-Previous To Today Equivalent-month | 2000138
4ML-4th DB-Lighting | Active Energy | Previous To Today Equivalent | month | 4ML-4th DB-Lighting-Previous To Today Equivalent-month | 2000139
4ML-4th DB-Mech Power | Active Energy | Previous To Today Equivalent | month | 4ML-4th DB-Mech Power-Previous To Today Equivalent-month | 2000140
4ML-4th DB-Changeover 1 | Active Energy | Previous To Today Equivalent | month | 4ML-4th DB-Changeover 1-Previous To Today Equivalent-month | 2000141
4ML-4th DB-Changeover 2 | Active Energy | Previous To Today Equivalent | month | 4ML-4th DB-Changeover 2-Previous To Today Equivalent-month | 2000142
4ML-3rd DB-3-TLP | Active Energy | Previous To Today Equivalent | month | 4ML-3rd DB-3-TLP-Previous To Today Equivalent-month | 2000143
4ML-3rd DB-3-TLP Sec Load | Active Energy | Previous To Today Equivalent | month | 4ML-3rd DB-3-TLP Sec Load-Previous To Today Equivalent-month | 2000144
4ML-3rd DB-3-TM | Active Energy | Previous To Today Equivalent | month | 4ML-3rd DB-3-TM-Previous To Today Equivalent-month | 2000145
4ML-3rd DB-3-Kitchen | Active Energy | Previous To Today Equivalent | month | 4ML-3rd DB-3-Kitchen-Previous To Today Equivalent-month | 2000146
4ML-3rd DB-3-Comms | Active Energy | Previous To Today Equivalent | month | 4ML-3rd DB-3-Comms-Previous To Today Equivalent-month | 2000147
4ML-2nd DB-North | Active Energy | Previous To Today Equivalent | month | 4ML-2nd DB-North-Previous To Today Equivalent-month | 2000148
4ML-2nd DB-South | Active Energy | Previous To Today Equivalent | month | 4ML-2nd DB-South-Previous To Today Equivalent-month | 2000149
4ML-Grd DB-Power | Active Energy | Previous To Today Equivalent | month | 4ML-Grd DB-Power-Previous To Today Equivalent-month | 2000150
4ML-Grd DB-Lighting | Active Energy | Previous To Today Equivalent | month | 4ML-Grd DB-Lighting-Previous To Today Equivalent-month | 2000151
4ML-Grd DB-Mech Power | Active Energy | Previous To Today Equivalent | month | 4ML-Grd DB-Mech Power-Previous To Today Equivalent-month | 2000152
4ML-1st DB-Total | Active Energy | Previous To Today Equivalent | month | 4ML-1st DB-Total-Previous To Today Equivalent-month | 2000153
4ML-LG DB-Power | Active Energy | Previous To Today Equivalent | month | 4ML-LG DB-Power-Previous To Today Equivalent-month | 2000154
4ML-LG DB-Lighting | Active Energy | Previous To Today Equivalent | month | 4ML-LG DB-Lighting-Previous To Today Equivalent-month | 2000155
4ML-LG DB-Mech Power | Active Energy | Previous To Today Equivalent | month | 4ML-LG DB-Mech Power-Previous To Today Equivalent-month | 2000156
4ML-Floor Lower Ground Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor Lower Ground Total Electricity-Previous To Today Equivalent-month | 2000157
4ML-Floor Ground Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor Ground Total Electricity-Previous To Today Equivalent-month | 2000158
4ML-Floor 01 Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor 01 Total Electricity-Previous To Today Equivalent-month | 2000159
4ML-Floor 02 Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor 02 Total Electricity-Previous To Today Equivalent-month | 2000160
4ML-Floor 03 Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor 03 Total Electricity-Previous To Today Equivalent-month | 2000161
4ML-Floor 04 Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor 04 Total Electricity-Previous To Today Equivalent-month | 2000162
4ML-Floor 05 Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor 05 Total Electricity-Previous To Today Equivalent-month | 2000163
4ML-Floor 06 Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor 06 Total Electricity-Previous To Today Equivalent-month | 2000164
4ML-Floor 07 Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor 07 Total Electricity-Previous To Today Equivalent-month | 2000165
4ML-Floor 08 Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor 08 Total Electricity-Previous To Today Equivalent-month | 2000166
4ML-Floor 09 Total Electricity | Active Energy | Previous To Today Equivalent | month | 4ML-Floor 09 Total Electricity-Previous To Today Equivalent-month | 2000167

## Spaces
name | type | description | area | parent | tariff | schedule | meter1 | meter2 | meter3 | meter4 | meter5 | meter6 | meter7 | meter8 | meter9 | meter10 | meter11 | meter12 | meter13 | meter14 | meter15 | meter16

## Reports
name | description | chart | report | utility | period | breakup | comparison | text-color | meter1 | meter2 | meter3 | meter4 | meter5 | meter7 | meter7 | meter8 | meter9 | meter10 | meter1-color | meter2-color | meter3-color | meter4-color | meter5-color | meter7-color | meter7-color | meter8-color | meter9-color | meter10-color | period | breakup | comparison | text-color
4ML - Floor LG - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-LG DB-Lighting; meter2: 4ML-LG DB-Power; meter3: 4ML-LG DB-Mech Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor LG - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-LG DB-Lighting; meter2: 4ML-LG DB-Power; meter3: 4ML-LG DB-Mech Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor Ground - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-Grd DB-Power; meter2: 4ML-Grd DB-Lighting; meter3: 4ML-Grd DB-Mech Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor Ground - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-Grd DB-Power; meter2: 4ML-Grd DB-Lighting; meter3: 4ML-Grd DB-Mech Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor01 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-1st DB-Total | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor01 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-1st DB-Total | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor02 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-2nd DB-North; meter2: 4ML-2nd DB-South | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor02 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-2nd DB-North; meter2: 4ML-2nd DB-South | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor03 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-3rd DB-3-TLP; meter2: 4ML-3rd DB-3-TLP Sec Load; meter3: 4ML-3rd DB-3-TM; meter4: 4ML-3rd DB-3-Kitchen; meter5: 4ML-3rd DB-3-Comms | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor03 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-3rd DB-3-TLP; meter2: 4ML-3rd DB-3-TLP Sec Load; meter3: 4ML-3rd DB-3-TM; meter4: 4ML-3rd DB-3-Kitchen; meter5: 4ML-3rd DB-3-Comms | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor04 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-4th DB-Power; meter2: 4ML-4th DB-Lighting; meter3: 4ML-4th DB-Mech Power; meter4: 4ML-4th DB-Changeover 1; meter5: 4ML-4th DB-Changeover 2 | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor04 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-4th DB-Power; meter2: 4ML-4th DB-Lighting; meter3: 4ML-4th DB-Mech Power; meter4: 4ML-4th DB-Changeover 1; meter5: 4ML-4th DB-Changeover 2 | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor05 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-5th DB-North Cornerstone; meter2: 4ML-5th DB-South WBD | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor05 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-5th DB-North Cornerstone; meter2: 4ML-5th DB-South WBD | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor06 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-6th DB-Power; meter2: 4ML-6th DB-Lighting; meter3: 4ML-6th DB-Mech Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor06 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-6th DB-Power; meter2: 4ML-6th DB-Lighting; meter3: 4ML-6th DB-Mech Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor07 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-7th DB-Power; meter2: 4ML-7th DB-Lighting; meter3: 4ML-7th DB-Mech Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor07 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-7th DB-Power; meter2: 4ML-7th DB-Lighting; meter3: 4ML-7th DB-Mech Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor08 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-8th DB-Mech Power; meter2: 4ML-8th DB-Lighting; meter3: 4ML-8th DB-Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor08 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-8th DB-Mech Power; meter2: 4ML-8th DB-Lighting; meter3: 4ML-8th DB-Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor09 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-9th DB-Power; meter2: 4ML-9th DB-Lighting; meter3: 4ML-9th DB-Mech Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A
4ML - Floor09 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 4ML-9th DB-Power; meter2: 4ML-9th DB-Lighting; meter3: 4ML-9th DB-Mech Power | #097234 | #77C4BC | #134C6E | #55D192 | #D9BB62 | [5 empty] | this-week | Auto | 0 | #2B2B2A

## UpdateModbusDevices
current_name | connection | address | name | description | port | timeout | retries | delay | keepalive | port | timeout | retries | delay | keepalive

## UpdateMeters
current_name | new_name | new_description | new_serialNumber | new_location | utility | new_parent | new_notes | driver | new_b_device | new_m_ipdevice | new_m_unit | new_metertype | new_usernames | new_groupnames
14

## ModbusDevices_BCK
connection | address | name | description | port | timeout | retries | delay | keepalive | port | timeout | retries | delay | keepalive

## Meters_BCK
name | description | serialNumber | location | utility | parent | notes | driver | b_device | m_ipdevice | m_unit | metertype | usernames | groupnames | unit | calculation_meters | portion | Calc meters list
2ML-T/FL01-T4 RH-GPL/FCU

## CustomMeterPoints_BCK
meter | parameter | period | frequency | description | instance

## Spaces_BCK
name | type | description | area | parent | tariff | schedule | meter1 | meter2 | meter3 | meter4 | meter5 | meter6 | meter7 | meter8 | meter9 | meter10 | meter11 | meter12 | meter13 | meter14 | meter15 | meter16

## ReportsBCK
name | description | chart | report | utility | meter1 | meter2 | meter3 | meter4 | meter5 | meter7 | meter7 | meter8 | meter9 | meter10 | meter1-color | meter2-color | meter3-color | meter4-color | meter5-color | meter7-color | meter7-color | meter8-color | meter9-color | meter10-color | period | breakup | comparison | text-color
[15 empty] | #097234 | #77C4BC | #134C6E | [7 empty] | this-week | Auto | 0 | #2B2B2A