## SiteInfo
Name | Address Line 1 | Address Line 2 | City | State | Postcode | Country | Name | Phone Number | Email Address | Site Information
Verde | 10 Bressenden Place |  | London |  | SW1E 5DH | England | KnighContorls | ​01245 808 218 | service@knightcontrols.co.uk

## Floor meters
Floor | Mech | Lighting/Small Power | West LTG/FCU | West SP | West Extra1 | West Extra2 | West Extra3 | West Extra4 | East LTG/FCU | East SP | East Extra 1 | East Extra 2 | East Extra 3
Floor 1
Floor 2
Floor 3
Floor 4
Floor 5
Floor 6
Floor 7
Floor 8
Floor 9
Not found on single line drawings
Confirmed on single line drawings
Not found on provided meter list

## ModbusDevices
connection | address | name | description | port | timeout | retries | delay | keepalive | port | timeout | retries | delay | keepalive
6 Hays Lane LV
6 Hays Lane Risers

## Meters
name | description | serialNumber | location | utility | parent | notes | driver | b_device | m_ipdevice | m_unit | metertype | usernames | groupnames | unit | calculation_meters | portion | Building | Calc meters list
6HL - DB/L/G1 | Ground Floor LP |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 2 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - Lift 1 | Lift 1 |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 3 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - Lift 2 | Lift 2 |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 4 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - PB /L/R | Roof Plant |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 5 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - DB/L/B2 | Basement LP |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 6 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - DB/L/B1 | Comms Room |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 7 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - Spare | Spare |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 8 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - DB/L/B2-Total | DB Total |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 255 | Schneider EM3255 | kcl | Administrator
6HL - DB/L/B2-Top | DB Top |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 255 | Schneider EM3255 | kcl | Administrator
6HL - DB/L/G1-Total | DB Total |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 19 | Schneider EM3255 | kcl | Administrator
6HL - DB/L/G1-Top | DB Top |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 20 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/2L | DB Lighting |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 23 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/2P | DB Power |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 24 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/3L | DB Lighting |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 25 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/3P | DB Power |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 26 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/4L | DB Lighting |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 27 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/4P | DB Power |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 28 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/5L | DB Lighting |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 29 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/5P | DB Power |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 30 | Schneider EM3255 | kcl | Administrator
6HL - DB/L/R1 Roof Level L/P | Roof Panel |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 10 | Rayleigh_Instruments_RI-F300 | kcl | Administrator
6HL - Internal Heat Pump | Roof Panel |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 12 | Rayleigh_Instruments_RI-F300 | kcl | Administrator
6HL - AHU | Roof Panel |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 13 | Rayleigh_Instruments_RI-F300 | kcl | Administrator
6HL - Cooling Reception | Roof Panel |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 14 | Rayleigh_Instruments_RI-F300 | kcl | Administrator
6HL - Main Incomer Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - Transformer TX2 ,6HL - Transformer TX1 |  |  | 6HL - Transformer TX2 | 6HL - Transformer TX1
6HL - Floor 01 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - DB/L/G1-Total,6HL - DB/L/G1-Top |  |  | 6HL - DB/L/G1-Total | 6HL - DB/L/G1-Top
6HL - Floor 02 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - DB/T/2L,6HL - DB/T/2P |  |  | 6HL - DB/T/2L | 6HL - DB/T/2P
6HL - Floor 03 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - DB/T/3L,6HL - DB/T/3P |  |  | 6HL - DB/T/3L | 6HL - DB/T/3P
6HL - Floor 04 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - DB/T/4L,6HL - DB/T/4P |  |  | 6HL - DB/T/4L | 6HL - DB/T/4P
6HL - Floor 05 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - DB/T/5L,6HL - DB/T/5P |  |  | 6HL - DB/T/5L | 6HL - DB/T/5P
|  |  |  | 0 |  |  | Aggregate

## CustomMeterPoints
meter | parameter | period | frequency | description | instance
6HL - DB/L/B2-Total | Active Energy | This | month | 6HL - DB/L/B2-Total-This-month | 2000406
6HL - DB/L/B2-Top | Active Energy | This | month | 6HL - DB/L/B2-Top-This-month | 2000407
6HL - DB/L/G1-Total | Active Energy | This | month | 6HL - DB/L/G1-Total-This-month | 2000408
6HL - DB/L/G1-Top | Active Energy | This | month | 6HL - DB/L/G1-Top-This-month | 2000409
6HL - DB/T/2L | Active Energy | This | month | 6HL - DB/T/2L-This-month | 2000410
6HL - DB/T/2P | Active Energy | This | month | 6HL - DB/T/2P-This-month | 2000411
6HL - DB/T/3L | Active Energy | This | month | 6HL - DB/T/3L-This-month | 2000412
6HL - DB/T/3P | Active Energy | This | month | 6HL - DB/T/3P-This-month | 2000413
6HL - DB/T/4L | Active Energy | This | month | 6HL - DB/T/4L-This-month | 2000414
6HL - DB/T/4P | Active Energy | This | month | 6HL - DB/T/4P-This-month | 2000415
6HL - DB/T/5L | Active Energy | This | month | 6HL - DB/T/5L-This-month | 2000416
6HL - DB/T/5P | Active Energy | This | month | 6HL - DB/T/5P-This-month | 2000417
6HL - Main Incomer Electricity | Active Energy | This | month | 6HL - Main Incomer Electricity-This-month | 2000418
6HL - Floor 01 Total Electricity | Active Energy | This | month | 6HL - Floor 01 Total Electricity-This-month | 2000419
6HL - Floor 02 Total Electricity | Active Energy | This | month | 6HL - Floor 02 Total Electricity-This-month | 2000420
6HL - Floor 03 Total Electricity | Active Energy | This | month | 6HL - Floor 03 Total Electricity-This-month | 2000421
6HL - Floor 04 Total Electricity | Active Energy | This | month | 6HL - Floor 04 Total Electricity-This-month | 2000422
6HL - Floor 05 Total Electricity | Active Energy | This | month | 6HL - Floor 05 Total Electricity-This-month | 2000423
6HL - DB/L/B2-Total | Active Energy | Previous To Today Equivalent | month | 6HL - DB/L/B2-Total-Previous To Today Equivalent-month | 2000424
6HL - DB/L/B2-Top | Active Energy | Previous To Today Equivalent | month | 6HL - DB/L/B2-Top-Previous To Today Equivalent-month | 2000425
6HL - DB/L/G1-Total | Active Energy | Previous To Today Equivalent | month | 6HL - DB/L/G1-Total-Previous To Today Equivalent-month | 2000426
6HL - DB/L/G1-Top | Active Energy | Previous To Today Equivalent | month | 6HL - DB/L/G1-Top-Previous To Today Equivalent-month | 2000427
6HL - DB/T/2L | Active Energy | Previous To Today Equivalent | month | 6HL - DB/T/2L-Previous To Today Equivalent-month | 2000428
6HL - DB/T/2P | Active Energy | Previous To Today Equivalent | month | 6HL - DB/T/2P-Previous To Today Equivalent-month | 2000429
6HL - DB/T/3L | Active Energy | Previous To Today Equivalent | month | 6HL - DB/T/3L-Previous To Today Equivalent-month | 2000430
6HL - DB/T/3P | Active Energy | Previous To Today Equivalent | month | 6HL - DB/T/3P-Previous To Today Equivalent-month | 2000431
6HL - DB/T/4L | Active Energy | Previous To Today Equivalent | month | 6HL - DB/T/4L-Previous To Today Equivalent-month | 2000432
6HL - DB/T/4P | Active Energy | Previous To Today Equivalent | month | 6HL - DB/T/4P-Previous To Today Equivalent-month | 2000433
6HL - DB/T/5L | Active Energy | Previous To Today Equivalent | month | 6HL - DB/T/5L-Previous To Today Equivalent-month | 2000434
6HL - DB/T/5P | Active Energy | Previous To Today Equivalent | month | 6HL - DB/T/5P-Previous To Today Equivalent-month | 2000435
6HL - Main Incomer Electricity | Active Energy | Previous To Today Equivalent | month | 6HL - Main Incomer Electricity-Previous To Today Equivalent-month | 2000436
6HL - Floor 01 Total Electricity | Active Energy | Previous To Today Equivalent | month | 6HL - Floor 01 Total Electricity-Previous To Today Equivalent-month | 2000437
6HL - Floor 02 Total Electricity | Active Energy | Previous To Today Equivalent | month | 6HL - Floor 02 Total Electricity-Previous To Today Equivalent-month | 2000438
6HL - Floor 03 Total Electricity | Active Energy | Previous To Today Equivalent | month | 6HL - Floor 03 Total Electricity-Previous To Today Equivalent-month | 2000439
6HL - Floor 04 Total Electricity | Active Energy | Previous To Today Equivalent | month | 6HL - Floor 04 Total Electricity-Previous To Today Equivalent-month | 2000440
6HL - Floor 05 Total Electricity | Active Energy | Previous To Today Equivalent | month | 6HL - Floor 05 Total Electricity-Previous To Today Equivalent-month | 2000441

## Spaces
name | type | description | area | parent | tariff | schedule | meter1 | meter2 | meter3 | meter4 | meter5 | meter6 | meter7 | meter8 | meter9 | meter10 | meter11 | meter12 | meter13 | meter14 | meter15 | meter16

## Reports
name | description | chart | report | utility | period | breakup | comparison | text-color | meter1 | meter2 | meter3 | meter4 | meter5 | meter7 | meter7 | meter8 | meter9 | meter10 | meter1-color | meter2-color | meter3-color | meter4-color | meter5-color | meter7-color | meter7-color | meter8-color | meter9-color | meter10-color | period | breakup | comparison | text-color
6HL - Floor01 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 6HL - DB/L/G1-Total; meter2: 6HL - DB/L/G1-Top | #097234 | #77C4BC | #134C6E | #2AA7F2 | #D7F7E1 | #96FFAC | #E6AF00 | #9D7EA4 | #988E3F | #446307 | this-week | Auto | 0 | #2B2B2A
6HL - Floor01 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 6HL - DB/L/G1-Total; meter2: 6HL - DB/L/G1-Top | #097234 | #77C4BC | #134C6E | #2AA7F2 | #D7F7E1 | #96FFAC | #E6AF00 | #9D7EA4 | #988E3F | #446307 | this-week | Auto | 0 | #2B2B2A
6HL - Floor02 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 6HL - DB/T/2L; meter2: 6HL - DB/T/2P | #097234 | #77C4BC | #134C6E | #2AA7F2 | #D7F7E1 | #96FFAC | #E6AF00 | #9D7EA4 | #988E3F | #446307 | this-week | Auto | 0 | #2B2B2A
6HL - Floor02 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 6HL - DB/T/2L; meter2: 6HL - DB/T/2P | #097234 | #77C4BC | #134C6E | #2AA7F2 | #D7F7E1 | #96FFAC | #E6AF00 | #9D7EA4 | #988E3F | #446307 | this-week | Auto | 0 | #2B2B2A
6HL - Floor03 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 6HL - DB/T/3L; meter2: 6HL - DB/T/3P | #097234 | #77C4BC | #134C6E | #2AA7F2 | #D7F7E1 | #96FFAC | #E6AF00 | #9D7EA4 | #988E3F | #446307 | this-week | Auto | 0 | #2B2B2A
6HL - Floor03 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 6HL - DB/T/3L; meter2: 6HL - DB/T/3P | #097234 | #77C4BC | #134C6E | #2AA7F2 | #D7F7E1 | #96FFAC | #E6AF00 | #9D7EA4 | #988E3F | #446307 | this-week | Auto | 0 | #2B2B2A
6HL - Floor04 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 6HL - DB/T/4L; meter2: 6HL - DB/T/4P | #097234 | #77C4BC | #134C6E | #2AA7F2 | #D7F7E1 | #96FFAC | #E6AF00 | #9D7EA4 | #988E3F | #446307 | this-week | Auto | 0 | #2B2B2A
6HL - Floor04 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 6HL - DB/T/4L; meter2: 6HL - DB/T/4P | #097234 | #77C4BC | #134C6E | #2AA7F2 | #D7F7E1 | #96FFAC | #E6AF00 | #9D7EA4 | #988E3F | #446307 | this-week | Auto | 0 | #2B2B2A
6HL - Floor05 - Electricity - Demand |  | area | demand | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 6HL - DB/T/5L; meter2: 6HL - DB/T/5P | #097234 | #77C4BC | #134C6E | #2AA7F2 | #D7F7E1 | #96FFAC | #E6AF00 | #9D7EA4 | #988E3F | #446307 | this-week | Auto | 0 | #2B2B2A
6HL - Floor05 - Electricity - Consumption |  | bar | consumption | Electricity | this-week | Auto | 0 | #2B2B2A | meter1: 6HL - DB/T/5L; meter2: 6HL - DB/T/5P | #097234 | #77C4BC | #134C6E | #2AA7F2 | #D7F7E1 | #96FFAC | #E6AF00 | #9D7EA4 | #988E3F | #446307 | this-week | Auto | 0 | #2B2B2A

## UpdateModbusDevices
current_name | connection | address | name | description | port | timeout | retries | delay | keepalive | port | timeout | retries | delay | keepalive

## UpdateMeters
current_name | new_name | new_description | new_serialNumber | new_location | utility | new_parent | new_notes | driver | new_b_device | new_m_ipdevice | new_m_unit | new_metertype | new_usernames | new_groupnames
1LB-FL2 West Core 2 L | 1LB - FL2 West Core 2 L | [9 empty] | 14
1LB-FL4 West Core 2 L | 1LB - FL4 West Core 2 L
1LB-FL5 West Core 2 L | 1LB - FL5 West Core 2 L
1LB-FL8 West Core 2 L | 1LB - FL8 West Core 2 L
1LB-FL9 West Core 2 L | 1LB - FL9 West Core 2 L
1LB-FL2 West Core 2 P | 1LB - FL2 West Core 2 P
1LB-FL4 West Core 2 P | 1LB - FL4 West Core 2 P
1LB-FL5 West Core 2 P | 1LB - FL5 West Core 2 P
1LB-FL6 West Core 2 P | 1LB - FL6 West Core 2 P
1LB-FL7 West Core 2 P | 1LB - FL7 West Core 2 P
1LB-FL8 West Core 2 P | 1LB - FL8 West Core 2 P
1LB-FL9 West Core 2 P | 1LB - FL9 West Core 2 P
1LB-FL10 West Core 2 P | 1LB - FL10 West Core 2 P
1LB-FL11 West Core 2 P | 1LB - FL11 West Core 2 P
1LB-FL11 West Core 2 DB | 1LB - FL11 West Core 2 DB
1LB-FL12 West Core 2 P | 1LB - FL12 West Core 2 P
1LB-FL3 West Core 2 P | 1LB - FL3 West Core 2 P
1LB-FL3 West Core 2 L | 1LB - FL3 West Core 2 L
1LB-FL6 West Core 2 L | 1LB - FL6 West Core 2 L
1LB-FL7 West Core 2 L | 1LB - FL7 West Core 2 L
1LB-FL10 West Core 2 L | 1LB - FL10 West Core 2 L
1LB-FL12 West Core 2 L | 1LB - FL12 West Core 2 L
1LB-FL4 West Core 2 ATS | 1LB - FL4 West Core 2 ATS
1LB-FL1 West Core 1 P | 1LB - FL1 West Core 1 P
1LB-FL2 West Core 1 P | 1LB - FL2 West Core 1 P
1LB-FL3 West Core 1 P | 1LB - FL3 West Core 1 P
1LB-FL4 West Core 1 P | 1LB - FL4 West Core 1 P
1LB-FL5 West Core 1 P | 1LB - FL5 West Core 1 P
1LB-FL6 West Core 1 P | 1LB - FL6 West Core 1 P
1LB-FL8 West Core 1 P | 1LB - FL8 West Core 1 P
1LB-FL9 West Core 1 P | 1LB - FL9 West Core 1 P
1LB-FL10 West Core 1 P | 1LB - FL10 West Core 1 P
1LB-FL12 West Core 1 P | 1LB - FL12 West Core 1 P
1LB-FL2 West Core 1 L | 1LB - FL2 West Core 1 L
1LB-FL3 West Core 1 L | 1LB - FL3 West Core 1 L
1LB-FL4 West Core 1 L | 1LB - FL4 West Core 1 L
1LB-FL5 West Core 1 L | 1LB - FL5 West Core 1 L
1LB-FL6 West Core 1 L | 1LB - FL6 West Core 1 L
1LB-FL8 West Core 1 L | 1LB - FL8 West Core 1 L
1LB-FL9 West Core 1 L | 1LB - FL9 West Core 1 L
1LB-FL10 West Core 1 L | 1LB - FL10 West Core 1 L
1LB-FL11 West Core 1 Lighting Kitchen | 1LB - FL11 West Core 1 Lighting Kitchen
1LB-FL12 West Core 1 L | 1LB - FL12 West Core 1 L
1LB-FL7 West Core 1 P | 1LB - FL7 West Core 1 P
1LB-FL7 West Core 1 L | 1LB - FL7 West Core 1 L
1LB-FL6 West Core 1 Comms | 1LB - FL6 West Core 1 Comms
1LB-FL11 West Core 1 P | 1LB - FL11 West Core 1 P
1LB-Ground Floor East Core 1 P | 1LB - Ground Floor East Core 1 P
1LB-Ground Floor East Core 1 L | 1LB - Ground Floor East Core 1 L
1LB-FL1 East Core 1 L | 1LB - FL1 East Core 1 L

## ModbusDevices_BCK
connection | address | name | description | port | timeout | retries | delay | keepalive | port | timeout | retries | delay | keepalive

## Meters_BCK
name | description | serialNumber | location | utility | parent | notes | driver | b_device | m_ipdevice | m_unit | metertype | usernames | groupnames | unit | calculation_meters | portion | Calc meters list
6HL - Transformer TX2 | Main Incomer TX 1 |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 16 | Rayleigh_Instruments_RI-F550 | kcl | Administrator
6HL - Transformer TX1 | Main Incomer TX 2 |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 148 | Rayleigh_Instruments_RI-F550 | kcl | Administrator
6HL - Pret | Pret and Manger |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 42 | Schneider_PM5100 | kcl | Administrator
6HL - Fire Alarm Panel | Fire Alarm Panel |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 1 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - DB/L/G1 | Ground Floor L&P |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 2 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - Lift 1 | Lift 1 |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 3 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - Lift 2 | Lift 2 |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 4 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - PB /L/R | Roof Plant |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 5 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - DB/L/B2 | Basement L&P |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 6 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - DB/L/B1 | Comms Room |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 7 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - Spare | Spare |  |  | 0 |  |  | Modbus |  | 6 Hays Lane LV | 8 | Rayleigh_Instrument_RI-D340 | kcl | Administrator
6HL - DB/L/B2-Total | DB Total |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 255 | Schneider EM3255 | kcl | Administrator
6HL - DB/L/B2-Top | DB Top |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 255 | Schneider EM3255 | kcl | Administrator
6HL - DB/L/G1-Total | DB Total |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 19 | Schneider EM3255 | kcl | Administrator
6HL - DB/L/G1-Top | DB Top |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 20 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/2L | DB Lighting |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 23 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/2P | DB Power |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 24 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/3L | DB Lighting |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 25 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/3P | DB Power |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 26 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/4L | DB Lighting |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 27 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/4P | DB Power |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 28 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/5L | DB Lighting |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 29 | Schneider EM3255 | kcl | Administrator
6HL - DB/T/5P | DB Power |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 30 | Schneider EM3255 | kcl | Administrator
6HL - DB/L/R1 Roof Level L/P | Roof Panel |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 10 | Rayleigh_Instruments_RI-F300 | kcl | Administrator
6HL - Internal Heat Pump | Roof Panel |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 12 | Rayleigh_Instruments_RI-F300 | kcl | Administrator
6HL - AHU | Roof Panel |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 13 | Rayleigh_Instruments_RI-F300 | kcl | Administrator
6HL - Cooling Reception | Roof Panel |  |  | 0 |  |  | Modbus |  | 6 Hays Lane Risers | 14 | Rayleigh_Instruments_RI-F300 | kcl | Administrator
6HL - Main Incomer Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - Transformer TX2 ,6HL - Transformer TX1 |  | 6HL - Transformer TX2 | 6HL - Transformer TX1
6HL - Floor 01 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - DB/L/G1-Total,6HL - DB/L/G1-Top |  | 6HL - DB/L/G1-Total | 6HL - DB/L/G1-Top
6HL - Floor 02 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - DB/T/2L,6HL - DB/T/2P |  | 6HL - DB/T/2L | 6HL - DB/T/2P
6HL - Floor 03 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - DB/T/3L,6HL - DB/T/3P |  | 6HL - DB/T/3L | 6HL - DB/T/3P
6HL - Floor 04 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - DB/T/4L,6HL - DB/T/4P |  | 6HL - DB/T/4L | 6HL - DB/T/4P
6HL - Floor 05 Total Electricity |  |  |  | 0 |  |  | Aggregate |  |  |  |  | kcl | Administrators | 19 | 6HL - DB/T/5L,6HL - DB/T/5P |  | 6HL - DB/T/5L | 6HL - DB/T/5P
|  |  |  | 0 |  |  | Aggregate
2ML-T/FL01-T4 RH-GPL/FCU

## CustomMeterPoints_BCK
meter | parameter | period | frequency | description | instance

## Spaces_BCK
name | type | description | area | parent | tariff | schedule | meter1 | meter2 | meter3 | meter4 | meter5 | meter6 | meter7 | meter8 | meter9 | meter10 | meter11 | meter12 | meter13 | meter14 | meter15 | meter16

## ReportsBCK
name | description | chart | report | utility | meter1 | meter2 | meter3 | meter4 | meter5 | meter7 | meter7 | meter8 | meter9 | meter10 | meter1-color | meter2-color | meter3-color | meter4-color | meter5-color | meter7-color | meter7-color | meter8-color | meter9-color | meter10-color | period | breakup | comparison | text-color
[15 empty] | #097234 | #77C4BC | #134C6E | [7 empty] | this-week | Auto | 0 | #2B2B2A